## EN
SELECTION TABLE | ANSI CODE | SIA-B Specific | SIA-B Standard | SIA-C | SIA-F | SIL-A | SIL-G | SIL-C | SIL-S | SIU-C | SIR-A | SIR-C
TYPE
SELF & DUAL POWERED (SELF+AUX) |  | √ | √ | bar: SIA-C
AUXILIARY POWERED | bar: SIA-F to SIR-C
INSTRUMENTS TRANSFORMER
Conventional Current Transformer input |  | 3 | 4 | 4 | 4 | 4 | 4 | 4 |  |  | 4 | 4
Conventional Voltage Transformer input |  |  |  | SIL-A: 1; SIL-G: 5; SIL-C: 5; SIU-C: 5
Non-Conventional LPCT/Rogowsky input |  |  |  | SIL-S: 3
Non-Conventional LEA input |  |  |  | SIL-S: 3; SIR-A: 6; SIR-C: 6
APPLICATIONS
Feeder | bar: SIL-A to SIR-C
Transformer |  | √ | √ | bar: SIA-C to SIL-A
Generator | bar: SIL-G to SIL-S
Capacitor Bank | bar: SIA-F to SIR-C
Arc flash | bar: SIL-G; SIR-A
Recloser | bar: SIR-A to SIR-C
Seccionalizer | bar: SIR-A to SIR-C
RTU | bar: SIR-A to SIR-C
Wind Power |  | √ | √ | bar: SIA-C to SIL-C
Solar Power |  | √ | √ | bar: SIA-C to SIL-C
Grid Interconnection | bar: SIL-G to SIR-C
FUNCTIONS
Instantaneous phase overcurrent | 50 | √ | √ | bar: SIA-C to SIL-S; SIR-A to SIR-C
Inverse time phase overcurrent | 51 | √ | √ | bar: SIA-C to SIL-S; SIR-A to SIR-C
Inverse Time Directional Phase Overcurrent | 67 | bar: SIL-G to SIL-S; SIR-A to SIR-C
Instantaneous Neutral overcurrent | 50N/G | √ | √ | bar: SIA-C to SIL-S; SIR-A to SIR-C
Inverse time Neutral overcurrent | 51N/G | √ | √ | bar: SIA-C to SIL-S; SIR-A to SIR-C
Inverse Time Directional Neutral Overcurrent | 67N/G | bar: SIL-A to SIL-S; SIR-A to SIR-C
Directional isolated neutral overcurrent | 67NI/GI | bar: SIL-A to SIL-C; SIR-A to SIR-C
Incipient/Intermittent Fault detection | 50INC | bar: SIL-G to SIL-C; SIR-C
Switch On To Fault | SOTF | √ | √ | bar: SIA-C; SIL-A to SIL-S; SIR-A to SIR-C
Phase balance current protection | 46 |  | √ | bar: SIA-C; SIL-A to SIL-S; SIR-A to SIR-C
Broken Conductor Detection | 46BC | bar: SIA-C; SIL-A to SIL-S; SIR-A to SIR-C
Restricted Earth Fault | 64REF | bar: SIL-A to SIL-S; SIR-A to SIR-C
Thermal overload | 49 | √ | √ | bar: SIA-C to SIL-S; SIR-A to SIR-C
External Trip | 49T | √ | √ | bar: SIA-C; SIL-A to SIR-C
Trip block for switch | TB | √ | √ | bar: SIA-F to SIL-A
Instantaneous phase undercurrent | 37 | bar: SIA-C; SIL-A to SIL-S; SIR-A to SIR-C
Second Harmonic Blocking | SHB | √ | √ | bar: SIA-C; SIL-A to SIL-S; SIR-A to SIR-C
Instantaneous phase overvoltage | 59 | bar: SIL-G to SIR-C
Instantaneous Neutral Overvoltage | 59N/G | bar: SIL-A to SIR-C
Phase Balance voltage protection | 47 | bar: SIL-G to SIR-C
Instantaneous Phase undervoltage | 27 | bar: SIL-G to SIR-C
Inverse Time Positive sequence undervoltage | dv/dt | bar: SIU-C
Directional Overpower | 32 | bar: SIL-G to SIL-S; SIR-A to SIR-C
Under/Overfrequency | 81O/U | bar: SIL-G to SIR-C
Rate of change of Frequency (ROCOF) | 81R | bar: SIL-G to SIR-C
Out of Step (Vector Shift) | 78 | bar: SIL-G to SIR-C
Overfluxing | 24 | bar: SIL-G to SIL-S
Cold Load pickup | CLP |  | √ | bar: SIA-C to SIL-S; SIR-A to SIR-C
AC Reclosing device | 79 | bar: SIA-C; SIL-A to SIR-C
Sequence Coordination Mode | SCM | bar: SIR-A to SIR-C
Sectionalizer Mode | SZM | bar: SIR-A to SIR-C
Breaker wear monitoring | 52 |  | √ | bar: SIA-C to SIR-C
Synchro Check | 25 | bar: SIL-G to SIR-C
Hot Line Tag | HLT | bar: SIL-G to SIR-C
Circuit Breaker Failure | 50BF |  | √ | bar: SIA-C to SIR-C
Trip Circuit Supervision | 74TCS | bar: SIA-C; SIL-A to SIR-C
Close Circuit Supervision | 74CCS | bar: SIU-C
Phase CT Supervision | 60CTS | bar: SIA-C; SIL-A to SIL-S; SIR-A to SIR-C
Phase LPVT Supervision | 60VTS | bar: SIL-G to SIL-S; SIR-A to SIR-C
Trip lockout | 86 | bar: SIA-F to SIR-C
Zone selection interlocking (ZSI) | 68 |  | √ | bar: SIA-C to SIL-S; SIR-A to SIR-C
Power Supply Control | PSC | bar: SIL-G to SIL-C; SIR-A to SIR-C
Programmable logic control | PGC | √ | √ | bar: SIA-C to SIR-C
Load Management System | LMS | bar: SIL-A to SIL-C; SIR-A to SIR-C
Fault Locator | 21FL | bar: SIL-G to SIL-C; SIR-A to SIR-C
Arc Flash Detection | AFD | bar: SIL-G; SIR-A
ADDITIONAL FEATURES
Counters |  |  | √ | bar: SIA-C to SIR-C
Commands |  | √ | √ | bar: SIA-C to SIR-C
Setting Groups |  | 2 | 4 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 6 | 6
Digital Inputs |  | Up to 1 | Up to 3 | Up to 10 | Up to 2 | up to 9 | Up to 24 | Up to 11 | Up to 11 | Up to 11 | Up to 24 | Up to 11
Digital Outputs |  | Up to 2 | Up to 3 | Up to 7 | Up to 3 | Up to 7 | Up to 18 | Up to 7 | up to 7 | Up to 7 | Up to 18 | Up to 7
Polarized Tripping Output |  | 1 | 1 | bar: SIA-C
LEDs |  | 2+1 mag. Indicator | 4 | 7+1 mag. Indicator | 3 | 8 | 11 | 11 | 11 | 11 | Up to 24 | 11
LCD |  | 20x2 LCD | 20x2 LCD | 20x2 LCD | 20x2 LCD | 20x2 LCD | 20x4 LCD | 20x4 LCD | 20x4 LCD | 20x4 LCD | 20x4 LCD | 20x4 LCD
Key-pad |  | 8 | 8 | 9 | 7 | 11 | 13 | 13 | 13 | 13 | Up to 21 | 13
Event records |  | 100 | 1024 | 1024 | 200 | 2048 | 3072 | 3072 | 3072 | 3072 | 3072 | 3072
Fault Reports |  | Up to 4 | Up to 20 | Up to 20 | Up to 4 | Up to 100 | Up to 100 | Up to 100 | Up to 100 | Up to 100 | Up to 100 | Up to 100
Oscillography records (COMTRADE) |  |  | Up to 10 | Up to 10 | 1 | Up to 100 | Up to 100 | Up to 100 | Up to 100 | Up to 100 | Up to 100 | Up to 100
Load Data Profiling (LDP) |  |  | √ | √ |  | √ | √ | √ | √ | n/a | √ | √
Local Port (frontal) |  | Micro USB | Micro USB | Micro USB | Micro USB | Micro USB | Micro USB | Micro USB | Micro USB | Micro USB | Micro USB | Micro USB
COMMUNICATIONS PROTOCOLS
ModBus RTU |  | √ | √ | bar: SIA-C to SIR-C
IEC60870-5-103 | bar: SIA-C; SIL-A to SIR-C
DNP3.0 Serial |  |  | √ | bar: SIA-C to SIR-C
Modbus TCP/IP | bar: SIA-C; SIL-A to SIR-C
DNP3 TCP/IP | bar: SIL-A to SIR-C
IEC 60870-5-104 | bar: SIL-A to SIR-C
IEC61850 | bar: SIL-A to SIR-C
SNTP | bar: SIL-A to SIR-C
Web Server | bar: SIL-A to SIR-C
IRIG-B | bar: SIL-G to SIR-C
REMOTE PORT (REAR)
RS485 |  | √ | √ | bar: SIA-C to SIR-C
RJ45 | bar: SIA-C; SIL-A to SIR-C
RS232 | bar: SIR-A
FO | bar: SIL-A to SIR-C
MONTAGE
Panel mounted |  | √ | √ | bar: SIA-C to SIR-C
UL
UL certified |  | √ | √ | bar: SIL-A